{"text_format":"3","workbook":"xls","n_sheets":6,"sheets":["一、水暖管材及配件","二、水暖配件","三、电工耗材","四、中央空调设备及配件","五、消防器材","六、钢材及附件"],"not_rendered":{"external_links":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"一、水暖管材及配件","index":0,"n_rows":158,"n_cols":4,"rows_kept":158,"merged":[[0,0,0,3]],"flags":["formulas_cached_only"]}
["一、水暖管材及配件"]
["序号","名称及型号","数量","备注"]
[1,"冷凝水（PVC-U）DN50（4m）","8根","会议室"]
[2,"冷凝水（PVC-U）DN40（4m）","16根","会议室"]
[3,"冷凝水（PVC-U）DN32（4m）","4根","会议室"]
[4,"冷凝水（PVC-U）DN25（4m）","16根","会议室"]
[5,"PVCU DN50（三通）","3个","会议室"]
[6,"PVCU DN50（900弯头）","2个","会议室"]
[7,"PVCU变径（50*40）","4个","会议室"]
[8,"PVCU变径（40*32）","4个","会议室"]
[9,"PVCU DN50室外管卡","4个","会议室"]
[10,"PVCU三通（40*25*40）"," 12个","会议室"]
[11,"PVCU三通（32*25*32） ","4个","会议室"]
[12,"PVCU DN50管古","8个","会议室"]
[13,"PVCU DN40管古","10个","会议室"]
[14,"PVCU DN32管古","4个","会议室"]
[15,"3/4*DN25内直PVCU","16个","会议室"]
[16,"PVCU  DN25（900弯头）","20个","会议室"]
[17,"PVCU  DN25正三通 ","4个","会议室"]
[18,"涡轮式法兰蝶阀DN40 ","4个","党委楼"]
[19,"涡轮式法兰蝶阀DN50","4个","党委楼"]
[20,"法兰片DN40","8片","党委楼"]
[21,"法兰片DN50"," 8片","党委楼"]
[22,"DN50钢垫子","6个","党委楼"]
[23,"DN40 钢垫子","6个","党委楼"]
[24,"丝杠螺母（16*80）","160个","党委楼"]
[25,"DN20铜球阀","126个","党委楼"]
[26,"20自动排气阀","18个","党委楼"]
[27,"DN20内丝弯头","30个","党委楼"]
[28,"DN20金属软管","110个","党委楼"]
[29,"20*25*20 中大三通","30个","党委楼"]
[30,"PVCU 3/4*DN25内直"," 60个","党委楼"]
[31,"PVCU  DN25（900弯头）","50个","党委楼"]
[32,"PVCU  DN25三通","30个","党委楼"]
[33,"PVCU 25*32*25 三通"," 3个","党委楼"]
[34,"PVCU DN25（4m）","45个","党委楼"]
[35,"PVCU DN25（4m）","45个","党委楼"]
[36,"PVCU DN32（4m）","10个","党委楼"]
[37,"PVCU DN40（4m）","18个","党委楼"]
[38,"PVCU变径 25*32 ","5个","党委楼"]
[39,"PVCU变径 32*40","10个","党委楼"]
[40,"PVCU 32*25*32 三通 "," 20个","党委楼"]
[41,"PVCU 40*25*40三通 ","20个","党委楼"]
[42,"PVCU  DN40（900弯头）","6个","党委楼"]
[43,"PVCU 40 正三通","1个","党委楼"]
[44,"PVCU DN 50管子 （4m）","6根","党委楼"]
[45,"PVCU DN 50正三通","2个","党委楼"]
[46,"PVCU变径 40*50 ","2个","党委楼"]
[47,"PVCU DN 32 （900弯头）","8个","党委楼"]
[48,"PVCU DN 50 （900弯头）","8个","党委楼"]
[49,"PVCU DN 50管古","6个","党委楼"]
[50,"PVCU DN 40管古"," 16个","党委楼"]
[51,"PVCU DN 32管古","10个","党委楼"]
[52,"PVCU DN 25管古","40个","党委楼"]
[53,"PVC-U（3/4*DN25 内直）","130个","党委楼"]
[54,"PVC-U（32*DN40 内直）"," 6个","党委楼"]
[55,"PVC-U（DN25 90°弯头）","140个","党委楼"]
[56,"PVC-U（DN25 正三通）","40个","党委楼"]
[57,"PVC-U（DN25）（4m）",88,"党委楼"]
[58,"PVC-U（DN40）（4m）",60,"党委楼"]
[59,"PVC-U（DN32）（4m）",55,"党委楼"]
[60,"PVC-U异径三通（32*25*32）"," 44个","党委楼"]
[61,"PVC-U异径三通（40*32*40）","10个","党委楼"]
[62,"PVC-U异径三通（40*25*40）"," 20个","党委楼"]
[63,"PVC-U  DN40（90°弯头）","50个","党委楼"]
[64,"PVC-U  DN40（45°弯头）","30个","党委楼"]
[65,"PVC-U 变径（25*32）","20个","党委楼"]
[66,"PVC-U 变径（32*40）","16个","党委楼"]
[67,"PVC-U 管古DN25",40,"党委楼"]
[68,"PVC-U 管古DN32",30,"党委楼"]
[69,"PVC-U 管古DN40",30,"党委楼"]
[70,"PVC-U 变径 40*50 ","8个","党委楼"]
[71,"PVC管子（110）","13根","党委楼"]
[72,"PVC管子（75）","4根","党委楼"]
[73,"PVC管子（50）","7根","党委楼"]
[74,"PVC三通（110）","18个","党委楼"]
[75,"PVC三通（110*75）","5个","党委楼"]
[76,"PVC三通（110*50）","16个","党委楼"]
[77,"PVC三通（75）","5个","党委楼"]
[78,"PVC三通（75*50）","16个","党委楼"]
[79,"堵头（110）","7个","党委楼"]
[80,"堵头（75）","8个","党委楼"]
[81,"不锈钢地漏（50）","7个","党委楼"]
[82,"PVC P弯（110）","8个","党委楼"]
[83,"PVC S弯（50）","16个","党委楼"]
[84,"PVC吊卡（110)","38套","党委楼"]
[85,"PVC吊卡（75)","12套","党委楼"]
[86,"PVC弯头（110)","4个","党委楼"]
[87,"PVC立检","3个","党委楼"]
[88,"PP-R管子（50）","8根","党委楼"]
[89,"PP-R管子（28）","15根","党委楼"]
[90,"PP-R三通（50）","4个","党委楼"]
[91,"PP-R三通（50*25）","6个","党委楼"]
[92,"PP-R三通（50*30）","12个","党委楼"]
[93,"PP-R内丝三通（25*15）","10个","党委楼"]
[94,"PP-R内丝弯头（25*15）","20个","党委楼"]
[95,"PP-R内丝直接（25*15）","10个","党委楼"]
[96,"PP-R弯头（50）","10个","党委楼"]
[97,"PP-R弯头（25）","50个","党委楼"]
[98,"PP-R截止阀（50）","4个","党委楼"]
[99,"PP-R截止阀（25）","10个","党委楼"]
[100,"PP-R管卡（50）","20个","党委楼"]
[101,"PP-R管卡（25）","60个","党委楼"]
[102,"PP-R管卡（50*25）","5个","党委楼"]
[103,"PVC管（160）","20根","行政楼"]
[104,"PVC管（110）","32根","行政楼"]
[105,"PVC管（75）","10根","行政楼"]
[106,"PVC管（50）","20根","行政楼"]
[107,"PVC三通（160*110*60）","12个","行政楼"]
[108,"PVC三通（110）","40个","行政楼"]
[109,"PVC三通（110*75*110）","6个","行政楼"]
[110,"PVC三通（75）","10个","行政楼"]
[111,"PVC三通（75*50*75）","38个","行政楼"]
[112,"PVC三通（110*50*110）","21个","行政楼"]
[113,"PVC三通（50）","10个","行政楼"]
[114,"PVC堵头（110）","10个","行政楼"]
[115,"PVC堵头（75）","20个","行政楼"]
[116,"PVC P弯（110）","35个","行政楼"]
[117,"PVC S弯（50）","45个","行政楼"]
[118,"PVC 检查口（60）","4个","行政楼"]
[119,"PVC直接（160）","20个","行政楼"]
[120,"PVC弯头（160）","10个","行政楼"]
[121,"PVC弯头（110）","20个","行政楼"]
[122,"PVC弯头（50）","20个","行政楼"]
[123,"PVC45°（160）","10个","行政楼"]
[124,"PVC45°（110）","20个","行政楼"]
[125,"PVC吊卡（110)","40套","行政楼"]
[126,"PVC吊卡（75)","50套","行政楼"]
[127,"PVC吊卡（50)","30套","行政楼"]
[128,"PVC补芯（160*110）","4个","行政楼"]
[129,"PVC补芯（110*75）","5个","行政楼"]
[130,"PVC胶","4箱","行政楼"]
[131,"PVC斜三通（110*50）","10个","行政楼"]
[132,"PVC伸缩节（160）","8个","行政楼"]
[133,"PVC伸缩节（110）","8个","行政楼"]
[134,"PP-R管子（75）","8根","行政楼"]
[135,"PP-R管子（50）","15根","行政楼"]
[136,"PP-R管子（32）","35根","行政楼"]
[137,"PP-R管子（25）","15根","行政楼"]
[138,"PP-R三通（75*50）","10个","行政楼"]
[139,"PP-R三通（32）","10个","行政楼"]
[140,"PP-R三通（50*32）","35个","行政楼"]
[141,"PP-R截止阀（50）","10个","行政楼"]
[142,"PP-R截止阀（25）","5个","行政楼"]
[143,"PP-R内丝直接（32*25）","35个","行政楼"]
[144,"PP-R内丝三通（32*15）","12个","行政楼"]
[145,"PP-R内丝三通（25*15）","10个","行政楼"]
[146,"PP-R内丝弯头（25*15）","10个","行政楼"]
[147,"PP-R直接（50*32）","10个","行政楼"]
[148,"PP-R直接（32*25）","10个","行政楼"]
[149,"PP-R管卡（75）","30套","行政楼"]
[150,"PP-R管卡（50）","35套","行政楼"]
[151,"PP-R管卡（32）","35套","行政楼"]
[152,"PP-R管卡（25）","50套","行政楼"]
[153,"（100*65*100）三通","5个","行政楼"]
[154,"（100*65）大小头","2个","行政楼"]
[155,"（65）三通 ","20个","行政楼"]
[156,"（65）弯头","20个","行政楼"]

{"sheet":"二、水暖配件","index":1,"n_rows":94,"n_cols":4,"rows_kept":94,"merged":[[0,0,0,3]],"flags":["formulas_cached_only"]}
["二、水暖配件"]
["序号","名称及型号","数量","备注"]
[1,"DN20铜球阀","10个","会议室"]
[2,"DN20自动排气阀","10个","会议室"]
[3,"DN32球阀 ","32个","会议室"]
[4,"DN32金属软管","32个","会议室"]
[5,"DN32内丝弯头","40个","会议室"]
[6,"吊杆（8）五件套、弹簧卡 ","80套","会议室"]
[7,"麻丝","2kg","行政楼"]
[8,"蹲便器","8个","党委楼"]
[9,"坐便器","3个","党委楼"]
[10,"立式小便斗 ","8个","党委楼"]
[11,"拖布池","7个","党委楼"]
[12,"台盆（长头、下水）","7套","党委楼"]
[13,"延时阀（25）","8个","党委楼"]
[14,"小便延时阀（15）","8个","党委楼"]
[15,"三角阀（15）","10个","党委楼"]
[16,"软管（15*600）","10根","党委楼"]
[17,"不锈钢冲洗管 ","8根","党委楼"]
[18,"不锈钢地漏（50）","20个","行政楼"]
[19,"蹲便器","35个","行政楼"]
[20,"单台盆（带龙头下水）","4套","行政楼"]
[21,"三台盆（带龙头下水）","4套","行政楼"]
[22,"拖布池（带下水）","8套","行政楼"]
[23,"立式小便池","8套","行政楼"]
[24,"坐便器","2套","行政楼"]
[25,"不锈钢水池","3套","行政楼"]
[26,"延时阀（25）","35个","行政楼"]
[27,"小便延时阀（15）","8个","行政楼"]
[28,"快开龙头 ","15个","行政楼"]
[29,"不锈钢冲洗管 ","35根","行政楼"]
[30,"软管（15*600）","20根","行政楼"]
[31,"大红油漆","1大桶","消防用料"]
[32,"（100）法兰 ","1副","消防用料"]
[33,"（100）卡箍","10个","消防用料"]
[34,"（65）卡箍","140个","消防用料"]
[35,"好麻","2公斤","消防用料"]
[36,"机械套丝板牙（电动）（65~80）","2副","消防用料"]
[37,"机械套丝板牙（电动）（4~6）","2副","消防用料"]
[38,"DN65蜗轮式法兰蝶阀 ","4个","会议室"]
[39,"DN65法兰片 "," 8个","会议室"]
[40,"DN80蜗轮式法兰蝶阀","2个","会议室"]
[41,"80法兰片"," 4个","会议室"]
[42,"螺丝（16*80、丝杠带螺母）"," 80个","会议室"]
[43,"DN80木托","8个","会议室"]
[44,"DN80管卡","8个","会议室"]
[45,"DN65管卡","8个","会议室"]
[46,"DN65木托 ","8个","会议室"]
[47,"DN50木托"," 12个","会议室"]
[48,"DN50管卡","12个","会议室"]
[49,"DN40木托","16个","会议室"]
[50,"DN40管卡","16个","会议室"]
[51,"DN32木托","8个","会议室"]
[52,"DN32管卡","8个","会议室"]
[53,"DN200木托","12个","主管道"]
[54,"DN200管卡","12个","主管道"]
[55,"DN100木托"," 20个","主管道"]
[56,"DN100管卡","20个","主管道"]
[57,"DN80木托","24个","主管道"]
[58,"DN80管卡","24个","主管道"]
[59,"DN80（900焊接弯头）","12个","主管道"]
[60,"DN100（900焊接弯头）","12个","主管道"]
[61,"DN200（900焊接弯头）","10个","主管道"]
[62,"DN80木托","8个","党委楼"]
[63,"DN80管卡","8个","党委楼"]
[64,"DN50木托","8个","党委楼"]
[65,"DN50管卡","8个","党委楼"]
[66,"DN40木托","34个","党委楼"]
[67,"DN40管卡","34个","党委楼"]
[68,"DN32木托","8个","党委楼"]
[69,"DN32管卡 ","8个","党委楼"]
[70,"DN20木托","108个","党委楼"]
[71,"DN20管卡 ","108个","党委楼"]
[72,"涡轮式法兰蝶阀DN200 ","4个","行政楼"]
[73,"涡轮式法兰蝶阀DN100 ","2个","行政楼"]
[74,"涡轮式法兰蝶阀DN80","2个","行政楼"]
[75,"法兰DN200","8片","行政楼"]
[76,"法兰DN100","4片","行政楼"]
[77,"法兰DN80","4片","行政楼"]
[78,"泄水阀DN20球阀","22个","行政楼"]
[79,"DN20木托 ","30个","行政楼"]
[80,"DN20管卡","30个","行政楼"]
[81,"节杆五件套（8）（弹簧卡）","300套","行政楼"]
[82,"DN200 钢垫子  ","6个","行政楼"]
[83,"DN80 钢垫子","10个","行政楼"]
[84,"DN100 钢垫子","10个","行政楼"]
[85,"DN65 钢垫子","10个","行政楼"]
[86,"华美橡塑海绵保温管DN50","84m","行政楼"]
[87,"华美橡塑海绵保温管DN65","24m","行政楼"]
[88,"华美橡塑海绵保温管DN40","234m","行政楼"]
[89,"华美橡塑海绵保温管DN32","114m","行政楼"]
[90,"华美橡塑海绵保温管DN25","108m","行政楼"]
[91,"华美橡塑海绵保温管DN20"," 72m","行政楼"]
[92,"膨胀螺丝（10*100）","400套","行政楼"]

{"sheet":"三、电工耗材","index":2,"n_rows":20,"n_cols":4,"rows_kept":20,"merged":[[0,1,0,3]],"flags":["formulas_cached_only"]}
[null,"三、电工耗材"]
[1,"LGD（600*600）灯","134个","党委楼"]
[2,"插座","220个","党委楼"]
[3,"LED灯（300*300）","13个","党委楼"]
[4,"开关","50个","党委楼"]
[5,"2.5线","10卷","党委楼"]
[6,"42线","10卷","党委楼"]
[7,"桥架（200*200mm）","40米","行政楼"]
[8,"电缆（25m2）(三线五线)","130米","行政楼"]
[9,"配箱（500*600  ）内装100A开1个 6个，20单开关，8个32A空开","6个","行政楼"]
[10,"总配电箱（800*900）总250A、6个125A",null,"行政楼"]
[11,"LED灯（600*600）","336套","行政楼"]
[12,"插座","1000个","行政楼"]
[13,"开关","150个","行政楼"]
[14,"LED灯（300*300）","28套","行政楼"]
[15,"42  BVR插座线","80卷","行政楼"]
[16,"62  BVR ","20卷","行政楼"]
[17,"灯线（2.52）","20卷","行政楼"]
[18,"空调线（1.5BVR）","15卷","行政楼"]
[19,"管道风机","23个","行政楼"]

{"sheet":"四、中央空调设备及配件","index":3,"n_rows":7,"n_cols":5,"rows_kept":7,"merged":[[0,0,0,4]],"flags":["formulas_cached_only"]}
["四、中央空调设备及配件"]
[null,"名称","数量","型号","备注"]
[1,"吸顶式风机盘管   ","16台","（FP-170XD、电功率145W、制冷量9KW）","会议室"]
[2,"风机盘管吊杆五件套（8）","140套",null,"会议室"]
[3,"螺母（8）","400个",null,"会议室"]
[4,"吊杆五件套（8）","300个",null,"党委楼"]
[5,"风机盘管FP34WA ","34台","风机盘管FP34WA 右20台）（电功率37W、制冷量1.8KW）","党委楼"]

{"sheet":"五、消防器材","index":4,"n_rows":5,"n_cols":3,"rows_kept":5,"merged":[[0,0,1,2]],"flags":["formulas_cached_only"]}
["五、消防器材"]
[]
["序号","名称及型号","数量"]
[1,"消火栓箱（二合一）长1.6米、宽0.7米、高0.24米","15个"]
[2,"嵌墙式灭火器箱（4千克、两个装）","4个"]

{"sheet":"六、钢材及附件","index":5,"n_rows":27,"n_cols":4,"rows_kept":27,"merged":[[0,0,0,3]],"flags":["formulas_cached_only"]}
["六、钢材及附件"]
["序号","名称及型号","数量","备注"]
[1,"DN80立管（6m、镀锌钢管）","4根","会议室"]
[2,"DN65镀锌钢管（6m）","4根","会议室"]
[3,"80槽钢（6m）","4根","会议室"]
[4,"DN50镀锌钢管（6m）","10根","会议室"]
[5,"DN40镀锌钢管（6m）","15根","会议室"]
[6,"DN32镀锌钢管（6m"," 15根","会议室"]
[7,"40角铁（6m）","6根","会议室"]
[8,"DN200镀锌钢管（6m）","4根","主管道"]
[9,"DN100镀锌钢管（6m）","12根","主管道"]
[10,"DN80镀锌钢管（6m）","16根","主管道"]
[11,"80槽钢（6m）","20个","主管道"]
[12,"DN80镀锌钢管（6m） ","4根","党委楼"]
[13,"80槽钢（6m）","2个","党委楼"]
[14,"DN40镀锌钢管（6m）","24个","党委楼"]
[15,"DN25镀锌钢管（6m）","18个","党委楼"]
[16,"DN20镀锌钢管（6m）","12个","党委楼"]
[17,"DN50镀锌钢管（6m）","4个","党委楼"]
[18,"DN32镀锌钢管（6m）","4个","党委楼"]
[19,"40角铁（6m）","10个","党委楼"]
[20,"切割片","1件","行政楼"]
[21,"电焊条","5件","行政楼"]
[22,"DN20镀锌钢管（6m）","6个","行政楼"]
[23,"（100）镀锌管（天津制造）","90米","消防用料"]
[24,"（65）镀锌管（天津制造）","200米","消防用料"]
[25,"角铁（4*4）","200米","消防用料"]